Rat 2D EPSI Dual Band Variable Flip Angle 13C Dynamic Spectroscopy

In this example you will load a dynamic MRS animal data set acquired on a GE 3T scanner.  This data was acquired with an EPSI sequence using a dual-band variable flip angle pulse scheme.  You will reconstruct the data, combine the EPSI lobes, combine the coils and then correct for the dual-band and variable-flip pulse profiles using a Data Acquisition Description (DAD) file produced for the sequence. Then you will generate metabolite maps for pyruvate and lactate at each time point and also manually create an ROI mask of the animal.  These results will be saved as DICOM images and used as input to a kinetic modeling program that will fit the observed dynamic signal changes to a 2-site exchange model within the ROI and generate 3D maps of Kpl and T1all.

- Load Raw MRS data:

Open the SIVIC GUI application. For MacOSX it will be in your Applications folder. For Linux and Windows it will be in your installation directory under local/bin/. For Windows users the application will be called “sivic.bat”.

- Click and hold on the folder icon just left of the “spectra” label in the toolbar.

- Select “Load Data” from drop down menu.

- Navigate to sample MRS files (c13_rat/variable_flip/raw).

- Select  “All files (.*)” from the “Files of type:” drop down menu in the dialog.

- Select “dyn01” file and click on the “open” button.

- Please wait while the EPSI data is reordered. This can take a few minutes.

- The 3D array of raw data will be displayed (k-space, time domain 2 lobe FIDs).

- Preprocess data:

Click on the “Preproc” tab under the spectra.

- Select a Lorentzian apodization window in the drop-down menu under the “Spec” column.

- Set the width to 10 in the box under the “Hz” column.

- Zero-fill the spectra to 256 points: select “custom” under the “Spec” zero-fill drop-down menu and enter 256 in the text box.

- Click “Apply” to zero-fill and apodize the spectra.

- NOTE: This can also be done via the command line tool with these steps:

  - cd c13_rat/variable_flip

  - svk_gepfile_reader -i raw/dyn01 -o dyn_reordered -t 4

  - svk_zerofill -i dyn_reordered.dcm -o dyn_zf --custom 256

  - svk_apodize -i dyn_zf.dcm -o dyn_apodized -f 1 --width 10

- Reconstruct data:

Click on the “Recon” tab under the spectra.

- Click on “Transform” to perform spatial and spectral FFT reconstruction.

- Reconstructed MRS data will be displayed.  (WARNING: This can take some time depending on CPU power. If needed reconstructed results are included here: c13_rat/variable_flip/recon/dyn_recon2lobes.dcm).

- NOTE: This can also be done via the command line tools with these steps:

  - svk_fft -i dyn_apodized.dcm -o dyn_recon2lobes

- Combine EPSI lobes:

First we need to export the reconstructed data.

- Go to “File” Menu.

- Select Save Active Spectroscopic Data.

- Navigate to c13_rat/variable_flip and name the spectra “dyn_recon_2lobes”.

- Close SIVIC GUI.

- For Linux/OSX open a terminal.

- For Windows open the svk_prompt by navigation to local/bin in the installation path and double clicking “svk_prompt.bat”.

- Navigate to the directory where the sample data was downloaded and cd to c13_rat/variable_flip.

- Run svk_reorder_epsi to combine the two lobes:

LINUX/OSX Terminal

/YOUR_INSTALL_PATH/local/bin/svk_reorder_epsi

-i dyn_recon_2lobes.dcm -o dyn_recon_combinedlobes --combine –t 4

OR

Windows MS-DOS svk_prompt

svk_reorder_epsi.bat -i dyn_recon_2lobes.dcm -o dyn_recon_combinedlobes

--combine –t 4

- NOTE: /YOUR_INSTALL_PATH/ for OSX is “/Applications/SIVIC.app/Contents”.

- NOTE: Do not press “return” until all arguments have been entered on one line.

- Combine Coils:

From your Terminal/MS-DOS Prompt

- Run svk_mrs_combine to combine the coils using sum of squares

LINUX/OSX Terminal

/YOUR_INSTALL_PATH/local/bin/svk_mrs_combine

-i dyn_recon_combinedlobes.dcm -o combined -a 3 -t 4

OR

Windows MS-DOS svk_prompt

svk_mrs_combine.bat -i dyn_recon_combinedlobes.dcm -o combined -a 3 -t 4

- Correct for dual-band variable flip angle pulses:

From your Terminal/MS-DOS Prompt

- Run svk_variable_flip_scaler to correct each voxel using the profile dat file:

LINUX/OSX Terminal

/YOUR_INSTALL_PATH/local/bin/svk_variable_flip_scaler

-o corrected_mrs -m 0.02 -i combined.dcm --dad vfa_profile.dad

OR

Windows MS-DOS svk_prompt

svk_variable_flip_scaler.bat -o corrected_mrs -m 0.02 -i combined.dcm

--dad vfa_profile.dad

- Load corrected dynamic 13C MRS Data in SIVIC GUI:

Re-launch the SIVIC GUI application.

- Click on the folder icon just left of the “spectra” label in the toolbar.

- Select “Load Data” from drop down menu.

- Navigate to corrected MRS file in c13_rat/variable_flip.

- Select “corrected_mrs.dcm” file and click on the “open” button.

- The array of spectra from the first time point will be displayed in the right SIVIC panel.

- Load anatomical image:

- Click on the folder icon just left of the “image” label in the toolbar.

- Select “Load Data” from drop down menu.

- Navigate to sample MRI files (c13_rat/images).

- Select “T2FSE_AX.dcm” file and click the “Open” button.

- The anatomical image will now be displayed in the left panel with an MRS voxel grid overlay showing the location of each spectral voxel.

- Adjust the Window/Level of the image:

- Click on the “Window/Level” interactor on the toolbar.

- Click and drag the mouse across the image to adjust the contrast.

- Adjust the MRS View of the data:

- Click on the “Voxel Selection” interactor on the toolbar, then use the mouse to drag select voxels within the rat body.

- Change the “Time Point” slider to view dynamic changes in MRS data vs time (20 time points).

- Reset MRS amplitude by clicking on the eye icon and selecting the option shown below.

Reset 4D Amplitude Range to Current Voxels

Time Slider

- Quantify the metabolites at each time point:

Here the magnitude peak height of pyruvate and lactate at each time point will be quantified.  These quantified values will be written to dynamic metabolite maps in DICOM Enhanced MRI format and used as inputs for fitting the pyruvate to lactate conversion kinetics below.

- Click on the “Quant” tab under the spectra.

- Click on a single voxel that shows the largest lactate signal. The signal peaks at time point 5. Use the amplitude slider to adjust the range to help see the peak.

Pyruvate

Lactate

- When a single voxel is selected a cursor will appear that can be used to determine PPM ranges used for generating metabolite maps.

Cursor

Pyruvate

Lactate

- Determine the upper and lower frequency for quantifying lactate and pyruvate.  Enter these values in the appropriate boxes.  For the screenshots shown below 175-169 ppm was used for pyruvate and 186.97-184.5 ppm was used for lactate.

- Once these ranges have been correctly configured click on the “Generate Maps” button.  This will generate a set of metabolite maps for each defined spectral peak in every voxel and at each time point.

Generate Met Maps

- Click on the “Image Data” tab to see a list of all generated metabolite maps.  Scroll down and right click on the “PYRUVATE_MAG_PEAK_HT” map.  Select “Set As Overlay”.  The map will be displayed as a color overlay on the image.

- Under the image in the “Overlay Tools” section drag the “Volume” slider to view how the peak height values change with time during the acquisition.  The spectra on the right are synchronized to this slider and will also change.

- Overlay the LACTATE_MAG_PEAK_HT map as above and observe how the lactate signal changes.

- Right click on the PYRUVATE_MAG_PEAK_HT metabolite map in the “Image Data” tab and select “Set As Dynamic Traces”.  The spectral view (amplitude vs. frequency) will be replaced with a view showing the temporal change of the metabolite (magnitude peak height vs. time) for each voxel.   Repeat for the lactate metabolite map so both dynamic traces are visible.

- Select voxels with high signal as in step 10 and reset the 4D amplitude.

- Now that the metabolites have been quantified, save the dynamic metabolite maps as DICOM images.  These will be used for fitting kinetic parameters to a 2-site exchange model.  To save the maps, select File>> Save Metabolite Maps.  Select “Files of Type” = DICOM Enhanced MRI.  Navigate to the c13_rat/variable_flip folder and enter the root name for the output files (for examples below the root name “rat” was used) and click save.

- Generate an ROI mask of the rat body:

Finally, generate an ROI of the rat.  This will be used to mask the kinetic modeling calculation.  Open the voxel tagging window: Windows>>Voxel Tagging

- In the window click “Create Tag Data”.  Highlight the row with the first voxel label (Tag Value 1).  Click on voxels within the rat.

- Click “Create Tag Data”

- Highlight the first row.

- Click on voxels in either view.

- In the “Image Data” tab, select the “VoxelTagData” file, right click and save this ROI mask as an Enhanced DICOM object in the same path as your metabolite maps. For examples below “RAT_MASK” was used as the root name.

- Close the GUI.

13. Run command line program to fit dynamic data to a 2-site exchange model and generate a Kpl parameter map:

- Return to your Terminal or MS-DOS prompt and navigate to the location where your dynamic metabolite maps and mask ROI file are saved.

- Run svk_met_kinetics to fit kinetic data at each voxel within the mask ROI:

LINUX/OSX Terminal

/YOUR_INSTALL_PATH/local/bin/svk_met_kinetics

--i1 ratPYRUVATE_MAG_PEAK_HT.dcm --i2 ratLACTATE_MAG_PEAK_HT.dcm

--mask RAT_MASK.dcm –o rat_kinetics –t6

OR

Windows MS-DOS prompt

svk_met_kinetics.bat --i1 ratPYRUVATE_MAG_PEAK_HT.dcm

--i2 ratLACTATE_MAG_PEAK_HT.dcm --mask RAT_MASK.dcm

–o rat_kinetics –t6

- Once the program completes a set of files named rat_kinetics*.dcm will have been created.

  - _pyr_fit  calculated pyruvate signal based on fitted parameters (4D) points

  - _lac_fit calculated lactate signal based on fitted parameters (4D)

  - _Kpl 3D Kpl parameter map (3D)

  - _T1all T1all parameter map (3D)

14. Load Model Results into the SIVIC GUI:

Start the SIVIC GUI

- Load dynamic metabolite maps (signal) and fitted dynamics for pyruvate and lactate.  To do this click on the folder icon just left of the “image” label in the toolbar and select “Load Data As Traces” from the dropdown menu.   From the data browser select all 4 files and click the “Open” button. Hold down the Ctrl key to select multiple files.

- All 4 dynamic data sets will be displayed in the right SIVIC panel.

- Load anatomic rat image as in step 8 above.

- Select voxels within the rat body.

- Go to the “4D Data” tab and select the pyruvate signal as the active trace.

- Reset the 4D amplitude as in step 10.

- Load parameter maps as overlays (Kpl, T1all) by clicking on the folder icon to the left of the “Overlay” label on the toolbar:

- Select a map and click on “Open”.

- Look at voxels within the rat body:

  - Compare quality of fitted pyruvate and lactate signal to input signal

  - Window level anatomic image

  - Adjust color window level of overlay

  - Interpolate overlay

  - Adjust opacity of overlay